{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["融安“一口一档”（32个）"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"融安“一口一档”（32个）","index":0,"n_rows":37,"n_cols":23,"rows_kept":37,"merged":[[0,0,0,22],[1,0,1,22],[2,0,4,0],[2,1,4,1],[2,2,2,8],[2,9,2,16],[2,17,4,17],[2,18,4,18],[2,19,4,19],[2,20,4,20],[2,21,4,21],[2,22,4,22],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,6,4,6],[3,7,3,8],[3,9,4,9],[3,10,3,11],[3,12,4,12],[3,13,4,13],[3,14,4,14],[3,15,4,15],[3,16,4,16],[5,22,9,22]],"flags":["formulas_cached_only"]}
["附件1"]
["融安县入河排污口清单"]
["序号","排污口序号","所在地",{"$nulls":6},"入河排污口",{"$nulls":7},"整治目标","整治措施","整治时限","责任单位","配合单位","备注"]
[null,null,"省","市","县","乡（镇）","详细地址","地理位置",null,"名称","入河（海）",null,"受纳水体","周边环境","污水疑似来源"," ","异常状况（按照地表水Ⅴ类标准）"]
[{"$nulls":7},"经度","纬度",null,"类型","方式"]
[1,"XZ45022400015","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇观星岚小区北侧50米",{"v":109.399003524774,"d":"109.399004"},{"v":25.2215701522167,"d":"25.221570"},"柳州市融安县长安镇观星岚小区北侧50米雨污混合排口","入河排污口","直接排放","融江","居民区 桥 公路 ","东圩沟上游(大枧屯-朝阳路和兴小区-大桥东路红楼沟-新兴路-桔香北路-河东污水提升泵站）至入河排口区域城镇生活污水及雨水排放，疑似黑臭水体。","排水","氨氮，总磷，总氮超标","规范治理。","对上游居民生活污水纳管截污。","2023年12月前","县住建局","县投资开发有限责任公司","东圩沟"]
[2,"XZ45022400018","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇东方明珠小区",{"v":109.397464608714,"d":"109.397465"},{"v":25.2195912561937,"d":"25.219591"},"柳州市融安县长安镇东方明珠小区生活污水排口","入河排污口","直接排放","融江","居民区 公路 ","疑似东方明珠小区生活污水排放与雨水排放。","排水","氨氮，总磷，总氮超标","规范治理。","对生活污水纳管截污。","2023年12月前","县住建局"]
[3,"XZ45022400034","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇东圩桥旁桔香北路",{"v":109.401371411918,"d":"109.401371"},{"v":25.2197941881186,"d":"25.219794"},"柳州市融安县长安镇东圩桥旁桔香北路片区雨污混合排口","入河排污口","直接排放","融江","桥 居民区 ","东圩沟-桔香北路片区居民生活污水及雨水排放。","排水","氨氮，总磷，总氮超标","规范治理。","对上游居民生活污水纳管截污。","2023年12月前","县住建局","县投资开发有限责任公司"]
[4,"XZ45022400035","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇东圩桥旁桔香北路",{"v":109.40119978996,"d":"109.401200"},{"v":25.2197250029763,"d":"25.219725"},"柳州市融安县长安镇东圩桥旁桔香北路片区二号雨污混合排口","入河排污口","直接排放","融江","居民区 公路 桥 ","东圩沟-桔香北路片区居民生活污水及雨水排放。","排水","氨氮，总磷，总氮均超标","规范治理。","对上游居民生活污水纳管截污。","2023年12月前","县住建局","县投资开发有限责任公司"]
[5,"XZ45022400040","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇观星岚小区",{"v":109.399791904782,"d":"109.399792"},{"v":25.2208313329723,"d":"25.220831"},"柳州市融安县长安镇观星岚小区生活污水排口","入河排污口","直接排放","融江","居民区 桥 公路 ","观星岚小区生活污水排放。","排水","总磷，总氮超标","规范治理。","对上游居民生活污水纳管截污。","2023年12月前","县住建局","县投资开发有限责任公司"]
[6,"XZ45022400010","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇华夏污水处理厂",{"v":109.381512277397,"d":"109.381512"},{"v":25.2014666686858,"d":"25.201467"},"柳州市融安县长安镇华夏污水处理厂排口","入河排污口","直接排放","融江","工业区 公路 ","排水来源于融安县污水处理厂尾水。","排水","总磷，总氮超标","规范治理，达标排放","整治达标，设置入河排污口标志牌。","2023年12月前","融安生态环境局","县住建局"]
[7,"XZ45022400042","广西壮族自治区","柳州市","融安县","大将镇","柳州市融安县大将镇城镇污水处理厂",{"v":109.520484886124,"d":"109.520485"},{"v":25.2825149859499,"d":"25.282515"},"柳州市融安县大将镇城镇污水处理厂排污口","入河排污口","直接排放","浪溪河","水田 ","柳州市融安县大将镇污水处理厂出水。","排水","无","规范治理，达标排放。","设置入河排污口标志牌。","2023年12月前","融安生态环境局","县住建局"]
[8,"XZ45022400053","广西壮族自治区","柳州市","融安县","板榄镇","柳州市融安县板榄镇污水处理厂",{"v":109.62699964531,"d":"109.627000"},{"v":25.4064123349632,"d":"25.406412"},"柳州市融安县板榄镇污水处理厂排污口","入河排污口","直接排放","浪溪河","养殖 ","柳州市融安县板榄镇污水处理厂出水。","无水",null,"规范治理，达标排放。","设置入河排污口标志牌。","2023年12月前","融安生态环境局","县住建局"]
[9,"XZ45022400058","广西壮族自治区","柳州市","融安县","浮石镇","柳州市融安县浮石镇污水处理厂",{"v":109.341605429328,"d":"109.341605"},{"v":25.0989119967433,"d":"25.098912"},"柳州市融安县浮石镇污水处理厂排污口","柳州市融安县浮石镇污水处理厂排污口","柳州市融安县浮石镇污水处理厂排污口","柳州市融安县浮石镇污水处理厂排污口","柳州市融安县浮石镇污水处理厂排污口","柳州市融安县浮石镇污水处理厂出水。","无水","","规范治理，达标排放。","设置入河排污口标志牌。","2023年12月前","融安生态环境局","县住建局"]
[10,"XZ45022400061","广西壮族自治区","柳州市","融安县","泗顶镇","柳州市融安县泗顶镇污水处理厂",{"v":109.523831850551,"d":"109.523832"},{"v":25.0403358490764,"d":"25.040336"},"柳州市融安县泗顶镇污水处理厂排污口","入河排污口","直接排放","泗顶河","水田 ","柳州市融安县泗顶镇污水处理厂出水。","排水","COD总磷总氮超标","规范治理，达标排放。","设置入河排污口标志牌。","2023年12月前","融安生态环境局","县住建局"]
[11,"XZ45022400067","广西壮族自治区","柳州市","融安县","大良镇","柳州市融安县大良镇污水处理厂",{"v":109.32284159683,"d":"109.322842"},{"v":24.8440031809561,"d":"24.844003"},"柳州市融安县大良镇污水处理厂排污口","入河排污口","间接排放","融江","水田 ","柳州市融安县大良镇污水处理厂排水。","排水","无","规范治理，达标排放。","设置入河排污口标志牌。","2023年12月前","融安生态环境局","县住建局"]
[12,"XZ45022400055","广西壮族自治区","柳州市","融安县","浮石镇","柳州市融安县浮石镇广西斯柳冶化有限责任公司",{"v":109.346932462224,"d":"109.346932"},{"v":25.1100636157511,"d":"25.110064"},"柳州市融安县浮石镇广西斯柳冶化有限责任公司排污口","入河排污口","直接排放","融江","工业区 公路 ","柳州市融安县浮石镇广西斯柳冶化有限责任公司出水。","无水",null,"规范治理，达标排放。","设置入河排污口标志牌。","2024年12月前","融安生态环境局","县工业集中区管委会服务中心"]
[13,"XZ45022400056","广西壮族自治区","柳州市","融安县","浮石镇","柳州市融安县浮石镇鱼峰水泥",{"v":109.344268915011,"d":"109.344269"},{"v":25.1039068089114,"d":"25.103907"},"柳州市融安县广西融安鱼峰水泥有限公司雨洪排口","入河排污口","直接排放","融江","工业区 ","柳州市融安县浮石镇鱼峰水泥雨水。","排水","总氮超标","规范治理，达标排放。","设置入河排污口标志牌。","2024年12月前","融安生态环境局","县工业集中区管委会服务中心"]
[14,"XZ45022400057","广西壮族自治区","柳州市","融安县","浮石镇","柳州市融安县浮石镇融安兴隆锌业",{"v":109.344295826597,"d":"109.344296"},{"v":25.101418563082,"d":"25.101419"},"柳州市融安县浮石镇融安兴隆锌业雨洪排口","入河排污口","直接排放","融江","工业区 ","柳州市融安县浮石镇融安兴隆锌业雨水。","排水","总氮超标","规范治理，达标排放。","设置入河排污口标志牌。","2024年12月前","融安生态环境局","县工业集中区管委会服务中心"]
[15,"XZ45022400059","广西壮族自治区","柳州市","融安县","浮石镇","柳州市融安县浮石镇垃圾填埋场",{"v":109.427679299419,"d":"109.427679"},{"v":25.2084888345925,"d":"25.208489"},"柳州市融安县生活垃圾填埋场排污口","入河排污口","间接排放","融江","工业区 ","柳州市融安县垃圾填埋场排水。","无水","","规范治理，达标排放。","设置入河排污口标志牌。","2024年12月前","融安生态环境局","县城管执法局"]
[16,"XZ45022400060","广西壮族自治区","柳州市","融安县","泗顶镇","柳州市融安县泗顶镇融锌矿业",{"v":109.519343165112,"d":"109.519343"},{"v":25.0588026569963,"d":"25.058803"},"柳州市融安县泗顶镇融锌矿业排污口","入河排污口","直接排放","泗顶河","工业区 山地林区 ","柳州市融安县泗顶镇融锌矿业排水。","排水","无","规范治理，达标排放。","设置入河排污口标志牌。","2024年12月前","融安生态环境局","县科工贸局"]
[17,"XZ45022400062","广西壮族自治区","柳州市","融安县","桥板乡","柳州市融安县泗顶镇古丹铅锌矿",{"v":109.521952628318,"d":"109.521953"},{"v":24.9380729261477,"d":"24.938073"},"柳州市融安县古丹铅锌矿排污口","入河排污口","直接排放","泗顶河","工业区 ","柳州市融安县古丹铅锌矿出水。","排水","无","规范治理，达标排放。","设置入河排污口标志牌。","2024年12月前","融安生态环境局","县科工贸局"]
[18,"XZ45022400087","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇浪溪桥下",{"v":109.418787765138,"d":"109.418788"},{"v":25.2527296619016,"d":"25.252730"},"柳州市融安县长安镇浪溪桥下雨水排口","入河排污口","直接排放","浪溪河","工业区 公路 ","柳州市融安县长安镇浪溪桥下雨水。","无水","","规范治理，达标排放。","设置入河排污口标志牌。","2024年12月前","融安生态环境局","县科工贸局"]
[19,"XZ45022400009","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇高泽屯农产品加工产业污水处理厂",{"v":109.391271642949,"d":"109.391272"},{"v":25.1836450214913,"d":"25.183645"},"柳州市融安县长安镇高泽工业园区污水处理厂排污口","入河排污口","间接排放","融江","居民区 公路 ","污水来源周边居民生活污水，雨水和农产品加工产业园污水处理厂尾水。","排水","氨氮，总磷，总氮超标","规范治理，达标排放。","整治达标，设置入河排污口标志牌。","2024年12月前","县投资开发有限责任公司","县工业集中区管委会服务中心"]
[20,"XZ45022400031","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇红卫工业园广西融安县鑫丰木业有限公司西面300米",{"v":109.382712490645,"d":"109.382712"},{"v":25.202664768717,"d":"25.202665"},"柳州市融安县长安镇红卫工业园广西融安县鑫丰木业有限公司西面300米雨水排口","入河排污口","直接排放","融江","工业区 公路 村庄","疑似工业园区片区木材厂生活污水及雨水排放。","排水","无异常","规范治理。","对企业生活污水纳管截污。","2024年12月前","县工业集中区管委会服务中心","县住建局"]
[21,"XZ45022400001","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇红卫工业园区红卫路绿源木业西北100米",{"v":109.38509305701,"d":"109.385093"},{"v":25.2043597639962,"d":"25.204360"},"柳州市融安县长安镇红卫工业园区红卫路绿源木业西北100米雨水排口","入河排污口","直接排放","融江","工业区 公路 ","疑似红卫工业园区木材厂少量生活污水及雨水排放。","排水","无异常","规范治理。","设置入河排污口标志牌。","2024年12月前","融安生态环境局","县工业集中区管委会服务中心"]
[22,"XZ45022400002","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇红卫工业区中通快递东北侧200米",{"v":109.388123721613,"d":"109.388124"},{"v":25.2066468353078,"d":"25.206647"},"柳州市融安县长安镇红卫工业区中通快递东北侧200米其他排口","入河排污口","直接排放","融江","工业区 公路 ","疑似来源为柳州鼎盛洗涤厂洗涤废水。","排水","COD，氨氮，总磷，总氮均超标","规范治理。","整治达标，设置入河排污口标志牌。","2024年12月前","融安生态环境局","县工业集中区管委会服务中心"]
[23,"XZ45022400023","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇永兴驾校东北200米",{"v":109.383672998191,"d":"109.383673"},{"v":25.2032551276139,"d":"25.203255"},"柳州市融安县长安镇永兴驾校东北200米雨水排口","入河排污口","直接排放","融江","村庄 工业区 桥 ","红卫工业园区木业企业雨水排放。","无水","","规范治理。","设置入河排污口标志牌。","2024年12月前","融安生态环境局"]
[24,"XZ45022400014","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇易通一品小区",{"v":109.403313912591,"d":"109.403314"},{"v":25.2272572963317,"d":"25.227257"},"柳州市融安县长安镇易通一品小区污水排口","入河排污口","间接排放","融江","居民区 旱地 公路 ","疑似易通一品小区生活污水排口。","间断","","规范治理。","对生活污水截污纳管。","2025年12月前","县住建局","长安镇政府"]
[25,"XZ45022400021","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇京都商贸城北100米",{"v":109.393556216512,"d":"109.393556"},{"v":25.2139448689447,"d":"25.213945"},"柳州市融安县长安镇京都商贸城北100米雨污混合排口","入河排污口","直接排放","融江","居民区 公路 ","疑似融江南路、临江苑附近片区生活污水与雨水排放。","排水","氨氮，总磷，总氮超标","规范治理。","对上游居民生活污水纳管截污。","2025年12月前","县住建局","长安镇政府"]
[26,"XZ45022400004","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇大巷村",{"v":109.392367523265,"d":"109.392368"},{"v":25.2332733802527,"d":"25.233273"},"柳州市融安县长安镇大巷村、新民社区雨污混合排口","入河排污口","直接排放","融江","居民区 公路 ","污水来源包括大巷村、新民社区居民生活污水，灌溉渠用水等来源。","排水","总氮超标","规范治理。","对上游居民生活污水截污纳管。","2025年12月前","县住建局","长安镇政府"]
[27,"XZ45022400005","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇大巷村大巷敬老院后",{"v":109.39140919883,"d":"109.391409"},{"v":25.2344443152016,"d":"25.234444"},"柳州市融安县长安镇大巷村大巷敬老院雨污混排口","入河排污口","直接排放","融江","居民区 公路 ","敬老院生活污水排放。","排水","","规范治理。","对上游居民生活污水截污纳管。","2025年12月前","县住建局","长安镇政府"]
[28,"XZ45022400006","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇大巷村",{"v":109.390946816878,"d":"109.390947"},{"v":25.2348387178517,"d":"25.234839"},"柳州市融安县长安镇大巷村生活排污口","入河排污口","直接排放","融江","居民区 公路 ","疑似大巷村村民生活污水排放。","排水","氨氮，总磷，总氮超标","规范治理。","对上游居民生活污水截污纳管。","2025年12月前","县住建局","长安镇政府"]
[29,"XZ45022400012","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇融安县水文中心站",{"v":109.402396687431,"d":"109.402397"},{"v":25.2276598697667,"d":"25.227660"},"柳州市融安县长安镇融安县水文中心站入河混排口","入河排污口","直接排放","融江","居民区 公路 ","上游为山湖海小区及生活污水往下排放通过融江北路片区后穿越交通局后的排口进入水文中心排口排入融江。排水为这片区的生活污水，雨水及少量农田排水。","排水","总氮超标","规范治理。","对上游居民生活污水截污纳管。","2025年12月前","县住建局","长安镇政府"]
[30,"XZ45022400013","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇人民政府交通局北侧50米",{"v":109.404392072359,"d":"109.404392"},{"v":25.2273643589766,"d":"25.227364"},"柳州市融安县长安镇人民政府交通局北侧50米排污口","入河排污口","间接排放","融江","旱地 公路 居民区 ","疑似上游为山湖海小区附近融江北路生活污水及雨水排放，流经交通局地下汇集后排入融江。","排水","氨氮，总磷，总氮超标","规范治理。","对上游居民生活污水截污纳管。","2025年12月前","县住建局","长安镇政府"]
[31,"XZ45022400029","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇民族中学西侧100米",{"v":109.390390539759,"d":"109.390391"},{"v":25.2152766634908,"d":"25.215277"},"柳州市融安县长安镇民族中学西侧100米雨污混合排口","入河排污口","直接排放","融江","居民区 旱地 ","民族中学雨污排口。","间断","氨氮，总磷，总氮超标","规范治理。","对上游居民生活污水纳管截污。","2025年12月前","县住建局","长安镇政府"]
[32,"XZ45022400047","广西壮族自治区","柳州市","融安县","长安镇","柳州市融安县长安镇城北加油站旁融江北路",{"v":109.40750610716,"d":"109.407506"},{"v":25.2290251866987,"d":"25.229025"},"柳州市融安县长安镇城北加油站旁融江北路附近居民区雨污排口","入河排污口","间接排放","融江","居民区 工地 公路 ","疑似城北加油站旁融江北路附近居民生活污水及雨水排放。","排水","","规范治理。","对上游居民生活污水纳管截污。","2025年12月前","县住建局","长安镇政府"]